COUNTY OF MARIN

DEPARTMENT OF HEALTH AND HUMAN SERVICES

PUBLIC ACCESS DEFIBRILLATION FOR EMPLOYEES

PERFORMANCE STANDARDS

I.	PURPOSE

To delineate the standards against which the performance of Public Access Defibrillation (PAD) Responders will be measured and which they will demonstrate the ability to perform or verbalize prior to completion of the initial training program.

II.	STANDARDS

A. 	Initiate Response

1.	Two or more people are available for emergency response.

a.	AED Rescuer: Performs as the rescue director and is knowlegedable in CPR and AED operation.

b.	911 Caller: Calls 911 to activate the EMS response.

c.	CPR Rescuer: Gets the AED and performs CPR.

2.	AED storage.

a.	AED shall be stored near the phone in the reception area (or equivalent) of all offices.

3.	Single rescuer.

a.	When alone the AED Rescuer fulfills all three positions and is responsible for:

i. 	Calling 911

ii. 	Getting the AED

iii. 	Appling the AED and performing CPR

B.	Perform Basic Life Support in accordance with standards established by the American Heart Association.

C.	Equipment use

1.	Set up, activate and operate defibrillator correctly

2.	Prepare Automated External Defibrillator and documentation device for subsequent patient use

3.	Assure maintenance of unit in accordance with manufacturer's recommendations  and document all maintenance performed

a.	Perform monthy inspection (Battery Charge and Tag intact)

b.	Perform quarterly inspection (open unit, complete checklist, re-tag and seal)

c.	Request other manufacturer recommended maintenance as required

D.	Delivery of treatment

1.	Remove Patient from standing water and towel dry

2.	Correctly apply defibrillator pads, check for Nitroglycerin patch and Pacemaker or other devices

3.	Assure patient is not in contact with rescuers or bystanders prior to delivering shock

4.	Deliver shocks when indicated, as soon as possible following arrival at the scene, with the goal of 90 seconds

5.	Recognize when a shock has been delivered to the patient

6.	Deliver no more than the number of shocks allowed by protocol

7. 	Continue CPR at appropriate intervals

E.	Patient care

1.	Provide supportive care following successful defibrillation

2.	Immediately recognize and respond, in accordance with protocol, to patients who refibrillate

F.	Documentation

1.	Record pertinent events of the emergency response on Marin County Early Defibrillation Patient Care Record and record maintenance checks

G.	Training

1.	Successfully demonstrate continued competence on a regular basis as designated by the Medical Director.